FEDERAL FACILITY ASSESSMENT GUIDE

Emerging Technologies Checklist

LED Lighting

LED lighting is robust (shock resistance), use little energy, have a long life (50,000 hours), are fully dimmable, turn on instantly, and have no infrared or ultraviolet components.  Although LED lights are still relatively expensive, the price is expected to go down.  There are many applications where LED lighting is applicable, so consideration should be given to LED lighting.

Plasma Lighting

Using plasma lighting has many advantages that make it a good fit for a variety of lighting applications.  Plasma light bulbs use all benign materials in their constructing, have high efficacy, have a long life (20k – 60k hours), have constant light output over the life of the bulb, had have excellent color rendering.  The lights give off a considerable amount of heat, requiring that they be cooled, but take only 20 seconds to heat up.

Super T-8 Fluorescent Lamps

Super T-8 Fluorescent Lamps have the same light output as standard T-8 lamps, but they use less energy, last longer, and have improved color rendering.  The only disadvantage of Super T-8 lamps over standard T-8 lamps is that they are slightly more expensive.

Scotopic Lighting

Scotopic lighting uses a slightly more blue light than traditional lights to stimulate the eye’s photoreceptors in order to make the pupils contract and increase visual acuity.  This allows the light levels in a building to be reduced while allowing people to see better.

Task-Ambient Lighting Design

Task-ambient lighting uses direct-indirect lighting with lower ambient light levels and localized task lights to illuminate a work surface.  This method saves energy and also improves occupant comfort.  This approach takes experienced designers to be correctly implemented.

Intelligent Lighting Design Scheme

Intelligent lighting uses a combination of workstation-specific direct-indirect lighting with personal controls where the indirect portion is constant and the direct portion is controlled by the occupant and occupancy sensors.

Variable Refrigerant Flow System

Variable Refrigerant Flow systems control the amount of refrigerant flow to multiple evaporators throughout a building.  Not only does this system save energy, it also improves occupant comfort control, is easy to install, and allows for simultaneous heating and cooling.  This technology is beneficial when there are diverse zones that require individual control.  Some downsides of the technology include, a relatively high first cost, and poor performance in cold climates.

Sensible and Latent Energy Recovery Ventilators

Sensible and Latent energy recovery ventilators use heat exchangers between the exhaust and incoming ventilation air in order to precondition the sensible and latent portion of the ventilation air.  By using both a heat exchanger and  desiccants, a large amount of energy can be recovered from exhausting air.

Heat Recovery Chillers

Heat recovery chillers are water cooled chillers with condenser water leaving at a temperature in the range of 130 F that can be used for hot water heating applications.  This system can be used in any building that has simultaneous hot water heating and cooling.

Liquid Desiccants with Solar Thermal

This system uses solar thermal energy as the input energy for a liquid desiccant cooling system.  The system can be used for both cooling and dehumidification.  This system has very low operating costs due to the energy for the desiccant cycle coming from evacuated tube solar collectors, potentially reducing the operating cost to near zero.

Desuperheater

Implementing a desuperheater can use waste heat from a cooling cycle to heat domestic hot water.  This device offers a twofold advantage of improving the cooling efficiency and reducing the amount of auxiliary energy needed to heat hot water.

Fuel Cells

Fuel cells can be highly advantages for storing electricity that can be used in cases when uninterrupted power is required.  With a long life of 40,000 hours, fuels cells are clean, quiet, and reliable.  Two drawbacks of fuel cells include high initial cost ($3,000-$4,000 / kW) and efficiencies only falling between 40-50%.

Power-Spar Concentrating Solar

Power-Spar is a parabolic trough solar concentrator that can be used for electricity, heating, cooling, and lighting applications.  The main benefit of the system is its versatility.  It can be ground mounted, roof mounted, have two axis or bi-directional tracking.

Power Panel

The Power Panel system is a solar collector that has both a photovoltaic component for producing electricity and a solar thermal component for producing hot water.  This is advantageous because the water is used to cool the PV panels, increasing their efficiency while producing hot water.  These systems are beneficial to use when there are space constraints on solar collector area.

Concentrating PV

Concentrating PV uses optics to concentrate sunlight on a small area of solar cells.  Most concentrating PV systems use either single or dual axis tracking.  These systems are advantageous over traditional solar panels because of higher efficiencies and lower costs associated with them.  The market for concentrating PV is still in the developing phase, and there are some reliability issues associated with tracking, but these systems have great potential for growth.