FEDERAL FACILITY ASSESSMENT GUIDE
Grid-Tied Photovoltaic Data Sheet

| Grid-Tied PV | Value | Units | Comments |
| --- | --- | --- | --- |
| VISN |  |  |  |
| Building Number |  |  |  |
| Site or Building Annual Electricity Consumption (or attach one year’s bills) |  | kWh/year |  |
| Electric Peak Load |  | kW |  |
| Date and Time of Peak |  |  |  |
| Rate schedule details (or attach rate schedule) |  |  |  |
| Array Location Flat, sloped roof or ground? |  |  |  |
| Roof fall-line azimuth |  | N=0, S=180 |  |
| Roof dimensions |  | Ft of length, width, etc |  |
| Roof description |  | Roof Type (shingle, built-up, metal, membrane) |  |
| Roof install date. |  | Mm/dd/year |  |
| Shading profile (or attach pathfinder sheet) | Alt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Azi |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Distance from roof to inverter location |  | ft or m |  |
| Unshaded area available for PV array(s) |  | Sq ft or sq meters |  |
| Description of slope, soil, etc. |  |  |  |
| Distance/description of line from array to inverter plant |  | ft or m |  |
| Description of location of interconnect and distance from inverter plant |  |  |  |
| Voltage at interconnect |  | Volts |  |
| Frequency |  | Assume 60Hz |  |
| Number of Phases |  | 1 or 3 |  |
| If 3 phase, configuration? |  | Delta or wye |  |
| Capacity of main breaker, busbar, service at interconnect |  | Amps |  |
| Design windspeed |  | m/s |  |
| Design seismic zone |  |  |  |
| Design snow load |  | Lbs/sf |  |
| Other information? |  |  |  |